Starting coloQuick



Congratulations with your new coloQuick. Company name will now give you a review of the product and teach you how to use the system correctly.

* Assemble the filling station.
* Place plastic bag in cartridge and mount clips.
* Put white plates on the cartridge. Write date / quality with a marker (whipe out with alcohol)
* Adjust filling station according to the cartridge.
* Show how to squeeze out air from the bag when putting on the lid.
* Open the cabinet door and show where the main switch, fuse and “reset” buttons sit.
* Mount the teat and the esophageal tube, so they are ready for mounting on the bag.
* Show how the teat and the esophageal tube functions. (Explain how to use the esophageal tube).
* Show how the straps function.
* Show how the refractometer functions. (Calibrate, cleaning, daily use)
* Check the plug for correct power supply.
* Show the correct water level in the water bath.
* The water should be shifted monthly or as needed.
* Remember to turn off power supply when changing water in the water bath. Do not turn on power before new water is filled in the water bath.
* Turn on the main switch to the water bath.
* Turn the rotation on and off on the switch.
* Do not open the lid before the light is turned off on the switch.
* Rotation and heating element does only work if the cover is closed.
* The lamp indicates when the heating element is on.
* Adjust temperature. (IMPORTANT – don’t touch buttons ”U” and ”P”)
	+ Setting the temperature: pres∇, then adjust the temperature with Δ and ∇ buttons. The setting is automatically saved after 20 seconds.
	+ Water temperature during winter around 42 ̊C and during summer around 40 ̊C. Make sure, that the colostrum is around 39 ̊C before feeding – if not – correct the above temperature. The temperature should be checked immediately prior to feeding the calf.
* Until the colostrum bank is built up – don’t be too critical about the quality. Write the actual quality on the white writing plates.
* When the colostrum bank is established, use only the best quality.
* Tell how important it is, that the colostrum are frozen quickly after milking.
* Tell how important good hygiene is. Use disposable gloves whenever you help the calf drinking and you put the fingers into the mouth of the calf.
* Make sure that the teat, esophageal tube, the hose and filling station are carefully cleaned.
* Teat, esophageal tube and hose can be stored in the freezer when they are dry. This protects against bacterial growth.
* Thaw teat and esophageal tube and hose before use.
* Place colostrum in the plastic bag in the cartridge horizontally in the freezer – until the colostrum is frozen.
* Tell have important it is to establish good standard procedures, so that the routines are the same **EVERY TIME**.
* Explain shortly the importance of early colostrum feeding. Furthermore it is easier to give a newborn calf milk than a calf that is several hours old.
* Write down the CE-number:

Date:

Instruction by:

Customer´s signature:

We wish you good luck in the future with your new coloQuick.

Best regards

Company name